## Sheet1
Machine/Fixture | Variable Name | Qty | Single/Three Phase | Power at Peak (kW)
Auto Fryer |  | 2 | 1 | 3
Combi Oven |  | 1 | 3 | 15
Bain Marie |  | 6 | 1 | 3
Microwave |  | 4 | 1 | 1
Under Counter Chiller |  | 2 | 1 | 1.5
Makeline |  | 1 | 1 | 1.5
Impinger Oven-T98G |  | 1 | 1 | 1
Proofer |  | 1 | 1 | 1.8
Dosamatic |  | 1 | 1 | 5
Idli Steamer |  | 1 | 1 | 3
Mixer Grinder |  | 1 | 1 | 0.75
Infra Red Routing Table |  | 1 | 1 | 6
Vertical Chiller |  | 1 | 1 | 1.5
Deep Freezer |  | 2 | 1 | 1
Rice Cooker |  | 1 | 1 | 2.5
Walk-In Cold Room |  | 1 | 3 | 12
Computer |  | 1 | 1 | 0.2
Display |  | 4 | 1 | 0.1
Lights |  | 1 | 1 | 0.4
UPS |  | 1 | 1 | 1.5